Download and Installation

Download a release from the CTS github page. Unzip the archive into your matlab/toolbox folder, and add the resulting CTS folder to your Matlab path. Currently, adding subfolders is irrelevant as CTS has none. IMOD must also be installed to run simulations and reconstructions.

CTS requires a matlab version 2019b or later, and the image processing and statistics & machine learning toolbox. These are standard with most matlab licenses. CTS also requires the [EMIOD toolbox](https://github.com/rbehrouzi/emtoolbox) for matlab, installed in the same way.

Download at least one structure file from a database such as the RCSB for testing. Cif files are preferred as they have a few very useful features, but pdb files are perfectly serviceable.

Minimal commands for a basic workflow

WARNING: PASTING INTO MATLAB MIGHT BREAK CHARACTERS. ‘ and “ (single or double quotes) may be converted to improper special characters. If it’s red, it’s broken. If the argument is purple, it’s working. Replace the broken instance with a manually typed one when necessary.

1. set up the model parameters. This command readies parameters, with most using the defaults but specifying a pixel size of 12 (required input), and a single layer of particles (optional, defaults to 1). A GUI will appear to select the input structures for each layer. This command can be run inside the next command as an argument, or you can provide the arguments as a cell array (in curly brackets). Creating a variable makes it fast and easy to run many model generations with the same parameters programmatically, and avoids needing to use a GUI to select files repeatedly.

[parammodel] = param\_model(12,'layers',1);

help param\_model for a manual of model parameter arguments and options.

1. Generate the model with the provided parameters. The model size is 300x400x50 voxels, and is output with the suffix \_model\_1. The files are in the /tomosim directory, in a folder named with the input structure names following a timestamp. The second command demonstrates how to include the model parameters inside the same argument, if you do not wish to store them as a variable. Estimated runtime: <2 minutes

[cts] = cts\_model(zeros(300,400,50),parammodel,'suffix','model\_1');

Or [cts] = cts\_model(zeros(300,400,50),{12});

1. View the model if desired. The default model parameters include a grid, so the edge of a carbon hole should be visible along the left side. Subcomponents of the model are also viewable, stored inside the cts struct variable. The particle types are stored across a number of models in the splitmodel field, according to their filename. cts.splitmodel run in the command window will display its contents.

sliceViewer(cts.vol);

sliceViewer(cts.splitmodel.X)

The second command simulates a tiltseries and reconstructs it given an existing model with default imaging parameters. This prompts with a GUI to select a model generated by cts\_model – either the mrc or .mat in the session folder will generate a simulation, but always select the .mat file as that is required for creating the atlas. You can replace ‘gui’ with the full path to the model .mat file as well. Estimated runtime: <1 minute

cts\_simulate('gui','suffix','tutorial1');

The simulation outputs will be in a folder with the suffix ‘\_tutorial1’, in the source model folder. The easiest way to view all the steps in series is with IMOD’s 3dmod command. The 5\_recon\_X.mrc file is the final tomogram, and atlas\_X.mrc is the class atlas.

For more detailed information on each command, including a list of all input/output options, use matlab’s built-in help functionality. The following is the syntax for retrieving documentation:

help command

List of functions

Model param

Model

Simulate param

simulate